## Summary
Applicability determination — SAMPLE
Illustrative output for a sample product. Not advice for any real product.
Product | Sample: automated upper-arm blood-pressure monitor
Description | Reusable, non-invasive, battery-powered oscillometric monitor with an inflatable arm cuff and a companion app over Bluetooth. Home and clinical use, adults. Sold in the US and EU.
EU classification | Class IIa (Annex VIII, Rule 10 — active device for diagnosis/monitoring) — Regulation (EU) 2017/745 (MDR)
US classification | Class II, 510(k) — 21 CFR 870.1130 — non-invasive blood pressure measurement system
Sample generated by the public demo. In a workspace, every item carries confidence, source and a named reviewer's decision.

## Standards
Standard | Title | Why it applies
IEC 60601-1 | Medical electrical equipment — basic safety and essential performance | Electrically powered device
IEC 60601-1-2 | Electromagnetic disturbances (EMC) | Electronics + Bluetooth radio
IEC 60601-1-11 | Home healthcare environment | Intended for home use
IEC 80601-2-30 | Automated non-invasive sphygmomanometers | Particular standard for this device type
ISO 81060-2 | Clinical investigation of intermittent automated measurement type | Clinical validation of accuracy
ISO 14971 | Application of risk management to medical devices | All medical devices
IEC 62304 | Medical device software — life cycle processes | Embedded firmware + app
IEC 62366-1 | Usability engineering | Lay users at home
ISO 10993-1 | Biological evaluation — evaluation and testing | Cuff in contact with intact skin
ISO 15223-1 | Symbols for labels and information | Labeling